## Ancillary Rates
Anciallary Rate Calculations | Original |  |  | Revised Calculation 12/2/2021
Capacity Cost for all rates | 8.63 | $/kW month |  | 8.1795 | $/kW month
BAL002 Reserves Rate Calc
Based on 2018 data - Same Year as COSS
2018 BA Load total MW months | 8593.209 | MW months |  | 8593.209 | MW months
2018 BA Gen - not Self Supply | 109.071 | MW months |  | 109.071 | MW months
Total subject to Reserves charge | 8702.28 | MW months |  | 8702.28 | MW months
Op Reserves Requirement | 3% |  |  | 3%
Total Op Reserves for year | 261.0684 | MW months |  | 261.0684 | MW months
Cost of Capacity | 8.63 | $/kW month |  | 8.1795 | $/kW month
Cost of Reserves | 2253020.292 |  |  | 2135398.5447
2018 BA Load | 5213105.783 | MWh |  | 5213105.783 | MWh
2018 BA Gen - not Self Supply | 52052.644 | MWh |  | 52052.644 | MWh
Total MWh subject to Charge | 5265158.427 | MWh |  | 5265158.427 | MWh
Reserves Rate | 0.42791 | $/MWh |  | 0.40557 | $/MWh
PUT Tax Rate |  |  | 3.873% | 0.015708
Total Reserves Rate | 0.42791 |  |  | 0.42128
Regulation Rate
2018 BA monthly Peaks | 8593.209 | MW months summed for the year |  | 8593.209 | MW months summed for the year
Percent of Load for Regulation | 1.46% |  |  | 1.46%
Total Capacity needed for year | 125.4609 | MW months |  | 125.4609 | MW months
Cost of Capacity | 8.63 | $/kW month |  | 8.1795 | $/kW month
Total Regulation Costs | 1082727.1476 |  |  | 1026202.0202
Total 2018 BA Load | 5213105.783 | MWh |  | 5213105.783 | MWh
Regulation Rate | 0.20769 | $/MWh |  | 0.19685 | $/MWh
PUT Tax Rate |  |  | 3.873% | 0.007624
Total Regulation Rate | 0.20769 |  |  | 0.20447
Solar Integration Rate | regulation is not charged in addition to this rate |  |  | regulation is not charged in addition to this rate
Percent for Solar Integration | 14.68% |  |  | 14.68%
Cost of Capacity | 8.63 | $/kW month |  | 8.1795 | $/kW month
Monthly Charge | 1.2669 | $/KW of monthly peak demand |  | 1.2007 | $/KW of monthly peak demand
PUT Tax Rate |  |  | 3.873% | 0.046505
Total Solar Integration Rate | 1.2669 |  |  | 1.2472
Regulation Rate Applicability: Gen that is not variable, self supplies, or that pays a VERs integration rate is not subject to regulation
In 2018, there was no gen subject to a regulation rate